SET-UP CHECKLIST

Human IBL study; 2025/26

Participant number (write down): ________

☐    Gathered all the necessary materials (EEG cap, electrodes, gel, syringe, tape, alcohol pads, tape, measuring tape, tissues, make-up wipes, all the documents, etc.)

☐     Checked all computer and equipment settings (Tobii connection, EEG battery and connection, loaded configuration file, computer luminance, refresh rate, mouse speed).

☐     Prepared EEG equipment for the participant.

☐     If participant is wearing glasses – asked if they are able to see without them.

☐     Gave participant the information letter and collected the signed consent form

☐     Asked participant if they want to participate for credits or money (circle the correct one if you did not put it in the log book yet).

☐     Made sure participant is not wearing make-up.

☐     Informed participant about the length of the study, offered time to go to the bathroom, explained the intercom system, double-checked they put their phone on silent and left it in the experimenter room.

☐     Asked about piercings.

☐     Measured head circumference and chose the correct cap.

☐     Showed the participant the picture with external electrode placement.

☐     Cleaned area around mastoids, the area above and under their eyes.

☐     Placed the cap – making sure the Cz electrode hole is at the center of their head.

☐     Explained gel usage and told participant to let me know if they feel any burning. Showed them the syringe and told them to let me know if it is painful.

☐     Checked the CMS/DRL electrode and if the light on the cable box is blinking.

☐     Attached all electrodes and checked signal quality in the “Offset” and “Monopolar” tab.

☐     Made sure the participant rests their forearm at a comfortable angle, and asked them if they are doing okay – offered water.

☐     Calibrated Tobii.

☐     Opened PsychoPy and then opened the experiment through PsychoPy’s “open” button.

☐     Started the EEG recording.

☐     Marked the start time on the lab log book.

☐     Marked end time on the lab log book. Stopped the EEG recording.

☐     Gave the debriefing letter to the participant.

☐     If participant wanted monetary compensation, I paid them.

☐     If participant wanted credits for participation, I noted it down and paid them at the end of the day.

☐     I cleaned the EEG equipment.

☐     I took the 15 minute timer with me and made sure that the equipment was not left in a Sekusept solution for more than 15 minutes.

☐     I moved the participant’s data onto the J-drive.